DEPARTMENT OF VETERANS AFFAIRS

BOILER SAFETY DEVICES - OPERATION CHECK LIST

HOSPITAL_________________________PROJECT NO. _______________DATE_________BOILER NO. ________________

BOILER MAKE AND MODEL	____________________________________________________________________________

BURNER MAKE AND MODEL	____________________________________________________________________________

TECHNICIAN AND COMPANY	____________________________________________________________________________

VA REPRESENTATIVE	____________________________________________________________________________

Not

Item	OK	OK	Set Point - Remarks

Low Water Cutoff	[    ]	[    ]	_____________________________________________

Aux. Low Water Cutoff	[    ]	[    ]	_____________________________________________

High Water Alarm	[    ]	[    ]	_____________________________________________

Low Water Alarm	[    ]	[    ]	_____________________________________________

Low Water Cutoff Shunt Switch  	[    ]	[    ]	_____________________________________________

Aux. Low Water Cutoff Shunt Switch	[    ]	[    ]	_____________________________________________

High Steam Press. Cutout - Recycle	[    ]	[    ] 	_____________________________________________

High Steam Press. Cutout - Non-Recycle	[    ]	[    ]	_____________________________________________

Steam Safety Valve No. 1 - Pop	[    ]	[    ]	_____________________________________________

Blowdown	[    ]	[    ]	_____________________________________________

Steam Safety Valve No. 2 - Pop	[    ]	[    ]	_____________________________________________

Blowdown	[    ]	[    ]	_____________________________________________

Steam Safety Valve No. 3 - Pop	[    ]	[    ]	_____________________________________________

Blowdown	[    ]	[    ]	_____________________________________________

Steam Safety Valve No. 4 - Pop	[    ]	[    ]	_____________________________________________

Blowdown	[    ]	[    ]	_____________________________________________

Main Gas

High Pressure Cutoff	[    ]	[    ]	_____________________________________________

Low Pressure Cutoff	[    ]	[    ]	_____________________________________________

Safety Shut-Off Valves Proof of Closure	[    ]	[    ] 	_____________________________________________

Leak Test Safety Shut-Off Valves	[    ]	[    ]	_____________________________________________

Oil

High Pressure Cutoff	[    ]	[    ]	_____________________________________________

Low Pressure Cutoff	[    ]	[    ]	_____________________________________________

High Temperature Cutoff (Heated Oil)	[    ]	[    ]	_____________________________________________

Low Temperature Cutoff (Heated Oil)	[    ]	[    ]	_____________________________________________

Low Atomizing Pressure	[    ]	[    ]	_____________________________________________

Low Atomizing/Oil Differential Pressure	[    ]	[    ]	_____________________________________________

Oil Burner Position Switch	[    ]	[    ]	_____________________________________________

Safety Shut-Off Valves Proof of Closure	[    ]	[    ]	_____________________________________________

Leak Test Safety Shut-Off Valves	[    ]	[    ]	_____________________________________________

Cold Start/Steam Atomizing Burners	[    ]	[    ]	_____________________________________________

LP Gas Ignitor Operation	[    ]	[    ]	_____________________________________________

Ignitor (Pilot)

Low Gas Pressure	[    ]	[    ]	_____________________________________________

Leak Test Safety Shut-Off Valves	[    ]	[    ]	_____________________________________________

Forced Draft Motor Interlock	[    ]	[    ]	_____________________________________________

F. D. Damper Open Wide for Purge	[    ]	[    ]	_____________________________________________

Outlet Damper Open Wide for Purge	[    ]	[    ]	_____________________________________________

Purge Air Flow Interlock	[    ]	[    ]	_____________________________________________

Purge Timing	[    ]	[    ]	_____________________________________________

Ignition Timing	[    ]	[    ]	_____________________________________________

Low Fire Position Interlock	[    ]	[    ]	_____________________________________________

Combustion Air Flow Interlock	[    ]	[    ]	_____________________________________________

Main Flame Out - Time to Close Valves	[    ]	[    ]	_____________________________________________

Ignition Flame Out - Time to Close Valves	[    ]	[    ]	_____________________________________________

Minimum Ignitor Flame Test	[    ]	[    ]	_____________________________________________

Scanner Not Sensing Ignition Spark	[    ]	[    ]	_____________________________________________

Control Air Pressure Interlock	[    ]	[    ]	_____________________________________________

Sound Level - High Fire	[    ]	[    ]	_____________________________________________

Fan Motor Amps	[    ]	[    ]	_____________________________________________

Low Oxygen Alarm	[    ]	[    ]	_____________________________________________

Boiler Soot Blower Operation and Alignment 	[    ]	[    ]	_____________________________________________

Economizer Soot Blower Operation	[    ]	[    ]	_____________________________________________

Flue Gas Recirculation Damper Set for Prepurge	[    ]	[    ]	_____________________________________________

_________________________________	[    ]  	[    ]	_____________________________________________